## Sheet1
Current[A] | Voltage[mV] | Active Power[W] | Reactive Power[var] | Frequency[Hz] | Power factor[/1000] | Phase Angle[0.1deg] | Mean Apparent Power[VA] | Forward active energy[0.1pulse] | Reverse Active Energy[0.1pulse] | Absolute Active Energy[0.1pulse] | Forward Reactive Energy[0.1pulse] | Reverse Reactive Energy[0.1pulse] | Absolute Reactive Energy[0.1pulse] | Metering Status | System status | Temperature[0.01*C] | Humidity[%RH] | Epoch Time[us]
0.21458 | 230033.2812 | -1.5103 | -1.5103 | 50.0171 | -0.011244 | 9.8438 | 49.0832 | 0.13747 | 0 | 0.13747 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:05Z
0.21458 | 230022.9062 | 1.5103 | -1.5103 | 50.018 | 0 | 5.291 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:07Z
0.21458 | 230185.2969 | -0.75513 | -3.0205 | 50.019 | 0.031558 | 60.7324 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:09Z
0.21458 | 230139.4844 | 0 | -3.0205 | 50.0131 | 0 | 40.7637 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:11Z
0.21458 | 230053.5 | -2.2654 | -1.5103 | 50.0192 | -0.031558 | 15.3633 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:13Z
0.21458 | 230094.7188 | -0.75513 | -4.5308 | 50.0153 | 0 | 1.9512 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:16Z
0.21458 | 230012.6875 | -0.75513 | -1.5103 | 50.0153 | 0.031558 | 70.207 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:18Z
0.21458 | 230095.0156 | 2.2654 | -3.0205 | 50.0107 | -0.031558 | 61.8926 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:20Z
0.21458 | 230055.6562 | 1.5103 | -4.5308 | 50.0117 | 0 | 29.2852 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:22Z
0.21458 | 230062.8438 | -1.5103 | -3.0205 | 50.0166 | 0 | 15.3105 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:24Z
0.21458 | 230095.1406 | 2.2654 | -4.5308 | 50.0197 | 0 | 56.3379 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:26Z
0.21458 | 230096.8594 | 0 | -3.0205 | 50.0187 | 0 | 7.0137 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:28Z
0.21458 | 229997.1875 | 0 | 1.5103 | 50.0207 | 0 | 36.8262 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:30Z
0.21458 | 229982.3594 | -0.75513 | -3.0205 | 50.0208 | 0.031558 | 56.2852 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:32Z
0.21458 | 230044.9219 | 1.5103 | -4.5308 | 50.0243 | 0 | 30.3047 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:34Z
0.21458 | 230119.625 | 0.75513 | -3.0205 | 50.0202 | -0.031558 | 113.3789 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:36Z
0.21458 | 230077.5156 | -0.75513 | -3.0205 | 50.0214 | 0 | 27.0527 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:38Z
0.21458 | 229974.0781 | 0 | -3.0205 | 50.0202 | 0 | 90.8086 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:40Z
0.21458 | 230085.4062 | 0.75513 | -4.5308 | 50.0142 | 0 | 47.1973 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:42Z
0.21458 | 230030.8594 | 0.75513 | -1.5103 | 50.0159 | 0.031558 | 81.9668 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:44Z
0.21458 | 230012.2031 | 0.75513 | -1.5103 | 50.0207 | 0 | 10.3535 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:46Z
0.21458 | 230080.75 | 2.2654 | -3.0205 | 50.0176 | -0.031558 | 6.627 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:48Z
0.21458 | 230032.1406 | 0 | -4.5308 | 50.0147 | 0 | 28.3887 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:50Z
0.21458 | 230121.1406 | 0 | -3.0205 | 50.0155 | 0.031558 | 130.9219 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:52Z
0.21458 | 230112.0156 | 2.2654 | -4.5308 | 50.0215 | 0.031558 | 67.6758 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:54Z
0.21458 | 230118.4844 | 0 | -3.0205 | 50.0181 | 0 | 37.5996 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:56Z
0.21458 | 230157.8125 | 1.5103 | -3.0205 | 50.0139 | 0 | 9.8613 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:58Z
0.21458 | 229440.2812 | -1.5103 | 0 | 50.0174 | -0.011486 | 40.6934 | 49.0832 | 0.07174 | 0 | 0.07174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:05Z
0.21458 | 229447.9531 | 3.0205 | -3.0205 | 50.0144 | 0 | 84.375 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:07Z
0.21458 | 229438.5469 | -0.75513 | -1.5103 | 50.0124 | 0.031558 | 55.248 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:09Z
0.21458 | 229616.2969 | -0.75513 | -3.0205 | 50.0128 | 0.031558 | 9 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:12Z
0.21458 | 229626 | 0.75513 | -1.5103 | 50.009 | -0.031558 | 18.7734 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:14Z
0.21458 | 229515.6406 | -0.75513 | -1.5103 | 50.0203 | 0.031558 | 105.293 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:16Z
0.21458 | 229557.125 | -1.5103 | -3.0205 | 50.0129 | 0 | 47.1621 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:18Z
0.21458 | 229637.2031 | 0.75513 | -3.0205 | 50.0187 | 0 | 15.3457 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:20Z
0.21458 | 229557.3125 | 1.5103 | -3.0205 | 50.0118 | 0.031558 | 5.9766 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:22Z
0.21458 | 229280.625 | 0.75513 | -1.5103 | 50.0156 | 0 | 3.375 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:24Z
0.21458 | 229543.9844 | -2.2654 | -3.0205 | 50.0111 | 0.031558 | 0.7207 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:26Z
0.21458 | 229707.2031 | -1.5103 | -3.0205 | 50.0171 | -0.031558 | 46.1777 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:28Z
0.21458 | 229664.6875 | 0 | -3.0205 | 50.0134 | 0 | 52.084 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:30Z
0.21458 | 229508.2656 | 0 | -6.041 | 50.0133 | 0.031558 | 46.4766 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:32Z
0.21458 | 229639.7031 | -3.0205 | -1.5103 | 50.0141 | 0 | 6.2051 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:34Z
0.21458 | 229361.875 | 2.2654 | -1.5103 | 50.0144 | 0.031558 | 54.123 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:36Z
0.21458 | 229389.9219 | -0.75513 | -3.0205 | 50.0136 | 0.031558 | 36.4219 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:38Z
0.21458 | 229455.8281 | -0.75513 | 0 | 50.0158 | 0.031558 | 9.8262 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:40Z
0.21458 | 229495.0625 | -2.2654 | -4.5308 | 50.0192 | 0 | 4.7988 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:42Z
0.21458 | 229581.9531 | 0 | -1.5103 | 50.0192 | -0.031558 | 3.2695 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:44Z
0.21458 | 229851.2344 | 2.2654 | 0 | 50.0177 | 0 | 3.5859 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:46Z
0.21458 | 229943.875 | 2.2654 | -4.5308 | 50.0208 | 0.031558 | 9.2988 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:48Z
0.26277 | 229865.2344 | -0.75513 | -1.5103 | 50.0214 | 0 | 10.9336 | 60.4101 | -0.09279 | 0 | -0.09279 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:05Z
0.21458 | 229898.9531 | -1.5103 | -4.5308 | 50.0214 | 0 | 61.0488 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:07Z
0.21458 | 229795.1094 | 3.0205 | -1.5103 | 50.0198 | 0.031558 | 10.3711 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:09Z
0.21458 | 229909.7188 | 0 | -3.0205 | 50.0169 | -0.031558 | 121.6758 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:12Z
0.21458 | 229844.125 | 2.2654 | -4.5308 | 50.0161 | 0 | 31.166 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:14Z
0.21458 | 229848.4688 | 2.2654 | -3.0205 | 50.0161 | 0 | 10.7402 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:16Z
0.21458 | 229859.5 | -0.75513 | 0 | 50.0134 | 0 | 54.6152 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:18Z
0.21458 | 230079.2188 | -0.75513 | -4.5308 | 50.0086 | 0 | 10.8984 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:20Z
0.21458 | 230050.4688 | -0.75513 | -3.0205 | 50.0052 | 0.031558 | 26.9121 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:22Z
0.21458 | 230123.5312 | 1.5103 | 0 | 50.0066 | 0 | 19.7051 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:24Z
0.21458 | 230122.0156 | 1.5103 | -1.5103 | 50.0045 | -0.031558 | 74.5312 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:26Z
0.21458 | 229942.8438 | 0.75513 | 0 | 50.0012 | 0.031558 | 65.2852 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:28Z
0.21458 | 230156.3125 | 3.7756 | -1.5103 | 50.0022 | 0 | 13.2715 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:30Z
0.21458 | 230157.4844 | 1.5103 | -1.5103 | 50.0037 | 0.063116 | 3.2344 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:32Z
0.21458 | 230086.5312 | 4.5308 | -5.2859 | 50.0021 | 0 | 3.3398 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:34Z
0.21458 | 230000.5312 | 0.75513 | -6.041 | 50.0042 | 0 | 118.7578 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:36Z
0.21458 | 230013.9219 | 0 | -4.5308 | 49.9957 | 0 | 98.9121 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:38Z
0.21458 | 230003.7969 | -4.5308 | -1.5103 | 49.9992 | 0 | 11.2676 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:40Z
0.21458 | 229938.7031 | 1.5103 | -1.5103 | 49.9974 | -0.031558 | 57.8672 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:42Z
0.21458 | 229885.5 | -1.5103 | -3.0205 | 49.9993 | 0 | 24.5215 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:44Z
0.21458 | 229841.7656 | -0.75513 | -6.041 | 49.9974 | 0.031558 | 1.8105 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:46Z
0.21458 | 229825.25 | 0 | -1.5103 | 50.0025 | 0 | 16.8398 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:48Z
0.21458 | 229986.25 | 0.75513 | -3.0205 | 50.0013 | 0 | 33.873 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:50Z
0.21458 | 229971.625 | -1.5103 | -3.0205 | 49.9996 | 0 | 102.7969 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:52Z
0.21458 | 230063.5938 | 3.0205 | -3.0205 | 50.0027 | 0 | 75.9727 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:54Z
0.21458 | 230035.4844 | 3.0205 | -4.5308 | 50.0056 | 0.031558 | 36.2461 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:56Z
0.21458 | 230271.2969 | -0.75513 | -3.0205 | 50.0116 | 0 | 28.3184 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:58Z
0.21458 | 230193.5469 | -1.5103 | -4.5308 | 50.0115 | 0.011586 | 3.3926 | 49.0832 | -0.12114 | 0 | -0.12114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:05Z
0.21458 | 230069.3906 | 0.75513 | -3.0205 | 50.015 | -0.031558 | 31.9219 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:07Z
0.21458 | 230034.2031 | 0.75513 | -3.0205 | 50.0144 | 0.031558 | 64.2129 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:09Z
0.21458 | 230124.9844 | 2.2654 | -3.0205 | 50.0066 | -0.031558 | 12.0059 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:12Z
0.21458 | 230112.1875 | 0 | -4.5308 | 50.0012 | 0 | 1.4062 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:14Z
0.21458 | 229662.5156 | 0.75513 | 0 | 50.0043 | 0.031558 | 88.1367 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:16Z
0.21458 | 229502.9062 | 0.75513 | -4.5308 | 50.0042 | 0 | 4.8691 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:18Z
0.21458 | 229387.0781 | 0.75513 | 0 | 50.002 | -0.031558 | 41.9062 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:20Z
0.21458 | 229358.5 | 0.75513 | -4.5308 | 50.001 | 0 | 61.0664 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:22Z
0.21458 | 229510.7344 | 0.75513 | -1.5103 | 50.0025 | 0.031558 | 81.4922 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:24Z
0.21458 | 229417.75 | 3.0205 | -1.5103 | 50.0041 | -0.031558 | 11.8125 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:26Z
0.21458 | 229378.1094 | -1.5103 | 0 | 50.0114 | 0.031558 | 4.2539 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:28Z
0.21458 | 229354.2812 | 0 | -1.5103 | 49.9988 | 0 | 72.4219 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:30Z
0.21458 | 229475.5469 | 3.0205 | -3.7756 | 50.0012 | -0.031558 | 49.6406 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:32Z
0.21458 | 229704.8125 | -1.5103 | -1.5103 | 49.9978 | 0 | 105.9609 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:34Z
0.21458 | 229701.1562 | 0.75513 | -1.5103 | 49.9968 | 0.031558 | 11.8125 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:36Z
0.21458 | 229653.7969 | -1.5103 | 1.5103 | 50.0044 | 0 | 57.3047 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:38Z
0.21458 | 229676.3906 | 3.0205 | -1.5103 | 50.0039 | 0 | 72.7207 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:40Z
0.21458 | 229675.0156 | 0 | -1.5103 | 50.0089 | -0.031558 | 2.1973 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:42Z
0.21458 | 229863.0938 | 3.0205 | -1.5103 | 50.0072 | -0.031558 | 9.1055 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:44Z
0.21458 | 229786.8906 | 0.75513 | -1.5103 | 50.0108 | 0 | 74.3027 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:46Z
0.21458 | 229795.7344 | 3.0205 | 1.5103 | 50.0095 | 0.031558 | 63.7383 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:48Z
0.21458 | 229849.3281 | 0 | 0 | 50.0177 | -0.063116 | 12.252 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:50Z
0.21458 | 230024.7812 | 3.0205 | -1.5103 | 50.0138 | 0 | 61.9453 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:52Z
0.21458 | 230199.1875 | -0.75513 | -7.5513 | 50.0131 | 0.031558 | 65.5137 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:54Z
0.21458 | 230200.9062 | -3.0205 | 0 | 50.0117 | -0.031558 | 75.9199 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:56Z
0.21458 | 230188.7969 | -1.5103 | -6.041 | 50.0068 | 0 | 26.2441 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:58Z
0.21458 | 228898.9375 | -1.5103 | -3.0205 | 50.0031 | 0.011096 | 115.6641 | 49.0832 | -0.12802 | 0 | -0.12802 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:05Z
0.21458 | 228706.6094 | 2.2654 | -3.0205 | 50.0052 | -0.031558 | 115.5234 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:07Z
0.21458 | 229058.5156 | 0.75513 | -1.5103 | 50.0098 | 0 | 58.8516 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:09Z
0.21458 | 229078.5781 | -1.5103 | -1.5103 | 50.0113 | 0.031558 | 91.8105 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:12Z
0.21458 | 229171.3906 | 2.2654 | -6.041 | 50.0088 | 0 | 4.166 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:14Z
0.21458 | 228927.2031 | 0 | -3.0205 | 50.0156 | 0.031558 | 92.4434 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:16Z
0.21458 | 228758.1562 | 0.75513 | 1.5103 | 50.0104 | 0 | 2.3203 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:18Z
0.21458 | 228747.875 | -0.75513 | -4.5308 | 50.0047 | -0.031558 | 29.1094 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:20Z
0.21458 | 228836.6094 | -3.0205 | -1.5103 | 50.0013 | 0 | 6.9785 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:22Z
0.21458 | 228968.6875 | 0.75513 | 1.5103 | 49.9996 | -0.031558 | 71.209 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:24Z
0.21458 | 228929.4531 | 0.75513 | -4.5308 | 50.0027 | 0 | 10.7051 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:26Z
0.21458 | 228890.3906 | -2.2654 | -4.5308 | 49.9972 | 0.031558 | 45.668 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:28Z
0.21458 | 228906.1406 | 0 | -1.5103 | 49.9949 | -0.031558 | 139.0957 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:30Z
0.21458 | 229127.1406 | 2.2654 | -3.0205 | 49.9879 | 0 | 30.252 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:32Z
0.21458 | 229223.3438 | 0 | -1.5103 | 49.9914 | 0.031558 | 174.3574 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:34Z
0.21458 | 229251.1562 | 0.75513 | -1.5103 | 49.9886 | 0.031558 | 4.1484 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:36Z
0.21458 | 229254.7969 | 0.75513 | -3.0205 | 49.9899 | 0.031558 | 4.043 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:38Z
0.21458 | 229022.0938 | 0.75513 | -6.041 | 49.9836 | -0.031558 | 44.209 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:40Z
0.21458 | 228967 | 2.2654 | -4.5308 | 49.9874 | -0.063116 | 52.207 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:42Z
0.21458 | 228740.7656 | 0 | -1.5103 | 49.9878 | 0 | 8.0508 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:44Z
0.21458 | 229114.8281 | -1.5103 | -3.0205 | 49.9881 | -0.031558 | 7.3301 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:46Z
0.21458 | 229051.6875 | -0.75513 | -6.041 | 49.988 | -0.031558 | 40.0781 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:48Z
0.21458 | 229118.8438 | 2.2654 | -1.5103 | 49.9875 | -0.031558 | 15.7324 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:50Z
0.21458 | 228881.0938 | 1.5103 | -1.5103 | 49.9908 | 0 | 24.6094 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:52Z
0.21458 | 228523.8594 | 3.0205 | -1.5103 | 49.9929 | 0.031558 | 11.0215 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:54Z
0.21458 | 228544.2031 | 0.75513 | -1.5103 | 49.9954 | 0 | 11.127 | 49.0832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1970-01-01T00:00:56Z